## Sheet1
Wiping Huawei Switch before sending back to Huawei
Command | Description
reset factory-configuration | to reset to factory configuration
<configure login password>
reset saved-configuration | to Clear Saved Configuration
reset logbuffer | to Clear Log Buffers
reset trapbuffer
reboot
<must press "NO"> | so the factory config will be saved
<must press"YES"> | for the reboot notif
Post Check
display clock | to show time
display device manu | to show serial number
display current-configuration | to show current configuration
dir /all | to ensure no backup configuration existing
no logs older than the reset day